PHOTOMETRY WITH AUDELA
AudeLA level 5 (60 min)
The photometers
The photometry equations

---
THE PHOTOMETERS AND THE EQUATIONS
Image
loadima ic1
set box [::confVisu::getBox 1]
set res [buf1 fitgauss $box]
set xc [lindex $res 1]
set yc [lindex $res 5]
set radec [buf1 xy2radec [list $xc $yc]]
set res [ vo_neareststar [lindex $radec 0] [lindex $radec 1] ]
set magr [lindex [lindex $res 0] 5]
set res [buf1 phot $box]
set flux [lindex $res 0]
set magr 12.18
set zmagr [expr $magr + 2.5*log10($flux) ]
set res [buf1 phot $box]
set flux [lindex $res 0]
set magr [expr $zmagr - 2.5*log10($flux) ]
photometer
flux
equation
magnitude

---
THE PHOTOMETERS AND THE EQUATIONS
Image
Integral photometry
Fitting photometry
Sextractor
PSF fitting
One unfiltered image
One filtered image
Two filtered images
Many filtered images
photometer
flux
equation
magnitude

---
THE PHOTOMETERS
Integral photometry:
Addition of the total ADU in a window
Determination of the background
buf1 phot
Fitting photometry:
The star profile is fitted with a gaussian
Non gaussian shapes (Moffat), problem with under samplings
buf1 fitgauss
Sextractor:
Isophotal method
Configure the ini file
sextractor
PSF fitting:
Isolate a reference star, translate it over the unknown star
Must have the good PSF star.
photompsf_onebox photompsf_addbox photompsf_fitboxbypsf

---
PHOTOMETRY EQUATIONS
One unfiltered image:
mag = Zmag – 2.5 * log10 (F)
Use one calibration star with a similar color than the unknown star
Use the V or R magnitude (best CCD response) of Nomad1
Absolute accuracy ~0.5 mag
buf1 xy2radec, vo_neareststar, expr
One filtered image:
magR = ZmagR – 2.5 * log10 (FR)
Use one calibration star with a similar color than the unknown star
Use the R magnitude of Nomad1
Absolute accuracy ~0.3 mag
buf1 xy2radec, vo_neareststar, expr

---
PHOTOMETRY EQUATIONS
Two filtered images:
magV = ZmagV – 2.5 * log10 (FV) + av * (magV – magR)
magR = ZmagR – 2.5 * log10 (FR) + ar * (magV – magR)
Use two calibration stars with a different colors
Use the V,R magnitudes of Loneos, Landolt
Absolute accuracy ~0.03 mag
photcal_matchfiles, photcal_fit, photcal_calibrate
(see the Tutorial help of AudeLA)
Many filtered images:
magV = ZmagV – 2.5 * log10 (FV) + av * (magV – magR) + Kv * airmass
magR = ZmagR – 2.5 * log10 (FR) + ar * (magV – magR) + Kr * airmass
Use >3 calibration stars with a different colors
Use the V,R magnitudes of Loneos, Landolt
Absolute accuracy ~0.015 mag
photcal_matchfiles, photcal_fit, photcal_calibrate
(see the photomsn.tcl script in the examples)